## Candidate_Configurations
config_id | chemistry | rated_power_mw | rated_energy_mwh | duration_hours | round_trip_efficiency | base_availability | thermal_derating_coeff_pct_per_c | annual_calendar_degradation_pct | capex_usd_per_kw | capex_usd_per_kwh | fixed_om_usd_per_kw_yr | variable_om_usd_per_mwh | economic_life_years | capital_recovery_factor
LFP-100-200 | Lithium Iron Phosphate (LFP) | 100 | 200 | 2 | 0.85 | 0.98 | 0.8 | 1.5 | 1022.37 | 511.18 | 25.56 | 3 | 20 | 0.09809
LFP-150-600 | Lithium Iron Phosphate (LFP) | 150 | 600 | 4 | 0.86 | 0.98 | 0.8 | 1.5 | 1715.5 | 428.88 | 42.89 | 2.8 | 20 | 0.09809
LFP-200-800 | Lithium Iron Phosphate (LFP) | 200 | 800 | 4 | 0.86 | 0.98 | 0.8 | 1.5 | 1715.5 | 428.88 | 42.89 | 2.8 | 20 | 0.09809
NMC-200-800 | Nickel Manganese Cobalt (NMC) | 200 | 800 | 4 | 0.88 | 0.98 | 1.5 | 2.2 | 1680 | 420 | 45 | 3.2 | 15 | 0.11329
FLOW-100-800 | Vanadium Redox Flow (VRFB) | 100 | 800 | 8 | 0.7 | 0.97 | 0.2 | 0.5 | 3101.77 | 387.72 | 77.54 | 4.5 | 25 | 0.08971

## NREL_ATB_2023_Baseline
duration_category | cost_case | metric_parameter | units | cost_value
10Hr Battery Storage | Advanced | Fixed O&M | $/kW-yr | 71.1547
10Hr Battery Storage | Conservative | Fixed O&M | $/kW-yr | 102.5777
10Hr Battery Storage | Moderate | Fixed O&M | $/kW-yr | 94.8726
2Hr Battery Storage | Advanced | Fixed O&M | $/kW-yr | 19.0621
2Hr Battery Storage | Conservative | Fixed O&M | $/kW-yr | 27.4768
2Hr Battery Storage | Moderate | Fixed O&M | $/kW-yr | 25.5592
4Hr Battery Storage | Advanced | Fixed O&M | $/kW-yr | 32.0852
4Hr Battery Storage | Conservative | Fixed O&M | $/kW-yr | 46.252
4Hr Battery Storage | Moderate | Fixed O&M | $/kW-yr | 42.8876
6Hr Battery Storage | Advanced | Fixed O&M | $/kW-yr | 45.1084
6Hr Battery Storage | Conservative | Fixed O&M | $/kW-yr | 65.0272
6Hr Battery Storage | Moderate | Fixed O&M | $/kW-yr | 60.2159
8Hr Battery Storage | Advanced | Fixed O&M | $/kW-yr | 58.1315
8Hr Battery Storage | Conservative | Fixed O&M | $/kW-yr | 83.8025
8Hr Battery Storage | Moderate | Fixed O&M | $/kW-yr | 77.5443
10Hr Battery Storage | Advanced | OCC | $/kW | 2846.1867
10Hr Battery Storage | Conservative | OCC | $/kW | 4103.1083
10Hr Battery Storage | Moderate | OCC | $/kW | 3794.905
2Hr Battery Storage | Advanced | OCC | $/kW | 762.483
2Hr Battery Storage | Conservative | OCC | $/kW | 1099.0704
2Hr Battery Storage | Moderate | OCC | $/kW | 1022.3681
4Hr Battery Storage | Advanced | OCC | $/kW | 1283.4089
4Hr Battery Storage | Conservative | OCC | $/kW | 1850.0799
4Hr Battery Storage | Moderate | OCC | $/kW | 1715.5023
6Hr Battery Storage | Advanced | OCC | $/kW | 1804.3349
6Hr Battery Storage | Conservative | OCC | $/kW | 2601.0893
6Hr Battery Storage | Moderate | OCC | $/kW | 2408.6365
8Hr Battery Storage | Advanced | OCC | $/kW | 2325.2608
8Hr Battery Storage | Conservative | OCC | $/kW | 3352.0988
8Hr Battery Storage | Moderate | OCC | $/kW | 3101.7708